Dated: December 21, 2013

POLICE APARTMENTS, FARIDABAD

GENERAL SPECIFICATIONS

STRUCTURE

*	Earthquake resistant RCC frame structure as per latest ISI Norms (National Building Code).

DOORS & WINDOWS

*	Maranti Wooden Frames 125x60mm for Doors & Windows. Wooden Glazed Shutters only in Windows.

*	Both side Teak faced factory made Phenol bonded Flush Doors shutters 35mm in all rooms except Toilets.

*	One side Teak faced factory made Phenol bonded Flush Door shutters 35mm in Toilets.

*	No wood work in recessed space for Cupboards and Kitchen.

*	Powder Coated Aluminium fittings.

*	Night Latch security on main entry door.

*	Mortice Lock in Room entry Doors.

*	Mortice Latch in all Toilets Doors.

FLOORING

* 	Cement Concrete or Concrete Interlocking blocks Flooring in Stilts.

* 	Cement Concrete Flooring in Basement.

*	Vitrified Tiles flooring in flats.

*	Anti Skid Vitrified Tiles in Toilets, Balcony & Kitchen.

*	Granite Stone Kitchen and Toilet Counter Top.

*	Kota Stone Flooring in Staircase.

*	Ceramic Tiles in two colour Combo in Toilets upto 7ft and Kitchen – 2ft from Counter Top.

*	Marble & Kota Stone Flooring in Lift Lobby & circulations area.

*	Granite Stone & Tiles on Lift face.

FINISHES

*	Internal & External plain cement plaster.

*	Chemical Water Proofing in sunken area.

*	Chemical Water Proofing in Basement.

PAINTING

*	Oil Bound Distemper on Internal Walls.

*	Natural Spirit Polish on Teak Faced doors and Internal side of Windows frame & Window Shutters.

*	Synthetic Enamel paint on external side of Windows frame & Window Shutters.

*	Synthetic Enamel paint on Steel work.

EXTERNAL DEVELOPMENT & COMMON SERVICES

*	RCC framed Boundary Wall & Mild Steel Railing and Entry Gates.

*	Paths & Roads of Cement Concrete or Concrete Interlocking blocks.

*	Earth filling.

*	Street and Common Lighting.

*	Electric Sub Stations.

*	Generator for Common Lighting and Services like Lifts, Pumps and Lighting of open & common areas and staircases.

*	Generator for backup of Lighting Load of Flats.

* Central TV and Telephone System.

* Central Security System with CCTvs network and Intercom facility between Guard Room, other Essential Services & Flats.

* Provision of EPBAX for Internal Communication between Flats, Guard Room & Essential Services.

*	Sewage disposal system – RCC NP2 pipes.

*	Water supply system – Centrifugally Cast Iron Class LA pipes.

*	Storm Water Disposal System – RCC NP2 pipes.

*	RCC Underground Water Tank with Tiles lining & Pumping System for Domestic use & Fire.

*	Tube Well & Pumping System.

*	Water Harvesting.

*	Fire Fighting provisions as per National Building Code.

*	Landscaping.

* Sewerage Treatment Plant.

* Provision of 2 Lifts (8 & 13 passengers) each Block.

SEWERAGE, INTERNAL PLUMBING & INTERNAL WATER SUPPLY

*	SRW-PVC Pipes for Sewerage.

*	CPVC Pipes for Water Supply.

*	White Glazed Chinaware – One Wash Basin & One European WC Wall Hung or Floor Mounted.

*	CP Fittings with Half / Quarter Turn Hot & Cold water Mixtures in Kitchen Sink, Wash Basin & Bathing Area.

* Stainless Steel Sink with drain board in Kitchen.

* Provision of Geyser in Toilets & Kitchen.

*	Common RCC Overhead concrete Water Tank with Glazed Tiles lining.

*	Provision of RO System in Kitchen.

ELECTRICAL

*	PVC recessed conducting.

*	PVC insulated multistrand Copper Conductor Cables.

*	RCCB and MCB Distribution Boards.

*	Modular Switches & Sockets.

*	Metal Clad Socket with MCB for Air Conditioners.

*	Electronic Change Over & Load limiter for Light backup only.

* Central TV & Telephone points in Each Room.

* Wiring with CAT 5 cable for Telephone & Internet and RJ6 & RJ11 cable for TV.

*	Provision of Inverter in each Flat.

ITEMS OR WORK TO BE EXECUTED DIRECTLY BY THE SOCIETY.

Not part of Tender

*  Lifts.

*	Electric Sub Stations – Equipment & External Distribution.

*	Generator for Common Lighting and Services like Lifts, Pumps and Lighting of open & common areas and staircases.

*	Generator for backup of Lighting Load of Flats.

* Central TV and Telephone System – Equipment & External Distribution.

* Central Security System with CCTv network and EPBAX Intercom facility - Equipment & External Distribution.

*	Pumping System for Domestic use & Fire.

*	Tube Well & Pumping System.

*	Water Harvesting.

*	Fire Fighting System.

*	Landscaping.

* Sewerage Treatment Plant.